Annual Drinking Water Quality Report

Avondale Irrigation District

1999

We’re pleased to bring you this years Annual Drinking Water Quality Report.  This report is being provided as a service to our consumers to guarantee safe drinking water that you can trust in.  We work very hard to assure clean drinking water and it is our main goal to provide the best service possible.

Our source water is the Rathdrum Prairie Aquifer.  The Rathdrum Prairie Aquifer serves many of the ground wells in the surrounding area and is a very dependable source for clean drinking water.

This year we added Sabrina’s Place, Ezra Court and Spencer Addition.  We’re pleased to have these new additions to our District.

As part of our on going training to serve the best water we possibly can, all of our field maintenance employees qualify as Certified Operators in distribution.

We have a copy of the preliminary Idaho Source Water Assessment Plan in our office.  The Idaho Source Water Assessment Plan is being developed in response to requirements set forth by the Safe Drinking Water Act Amendments passed by Congress in 1996.  The Safe Drinking Water Act Amendments require states to assess the water (called source water) from which public water systems draw to provide drinking water.  Once completed, the source water assessments will provide information on potential contaminate threats to public drinking water systems.  The Idaho Division of Environmental Quality, in conjunction with its public advisory committee, has developed the Source Water Assessment Plan to describe the major components of, and the procedures for, conducting source water assessments.

We are currently working on a cross connection program to increase the protection of our water to our consumers.  Avondale Irrigation is working with the Idaho Division of Environmental Quality on this project.

“We do our very best to meet all  State and Federal guidelines and to ensure clean drinking water for everyone.”   -  President of the Board of Directors of Avondale Irrigation District Ron McIntire.

Because we want all of our consumers to be totally informed, we encourage you to call with any questions no matter how simplistic.  We have an answering service to assure everyone that they can call and leave a message with us or report an emergency.  We have field personal on call twenty-four hours a day, three hundred and sixty-five days a year.  Any questions regarding this report can be directed to Bob Chandler at (208)-772-5657.

We have a more detailed report at our office.  If you wish to stop by and talk with us, our address is 207 E. Hayden Avenue, Hayden, Idaho 83835.

We have regularly scheduled Board Meetings on the first Tuesday of every month.  These are open to the public and we encourage our consumers to attend.

Avondale Irrigation District routinely monitors for constituents in your drinking water according to Federal and State laws.  This table shows the results of our monitoring for the period of January 1 to December 31, 1999.  All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some constituents.  It’s important to remember that the presence of these constituents does not necessarily pose a health risk.

In this table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Parts per trillion (ppt) or Nanograms per liter (nanograms/l) - one part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

Parts per quadrillion (ppq) or Picograms per liter (picograms/l) - one part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Millirems per year (mrem/yr) - measure of radiation absorbed by the body.

Million Fibers per Liter (MFL) - million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers.

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

Action Level - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT) - (mandatory language) A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level - (mandatory language) The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal - (mandatory language) The “Goal”(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

| TEST RESULTS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Y/N | Level Detected | Unit Measurement | MCLG | MCL | Likely Source of Contamination |
| 4. Beta/photon emitters | N | 1.2-1.1 | mrem/yr | 0 | 4 | Decay of natural and man-made deposits |
| 5. Alpha emitters | N | .9-1.1-.9 | pCi/1 | 0 | 15 | Erosion of natural deposits |
| 7. Antimony | N | 5-5-5 | ppb | 6 | 6 | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder |
| 8. Arsenic | N | 5-5 | ppb | n/a | 50 | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |

| 10. Barium | N | .1-.1-.1 | ppm | 2 | 2 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| --- | --- | --- | --- | --- | --- | --- |
| 11. Beryllium | N | 1-1-1 | ppb | 4 | 4 | Discharge from metal refineries and coal-burning factories; discharge from electrical, aerospace, and defense industries |
| 12. Cadmium | N | .50-.50-.50 | ppb | 5 | 5 | Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints |
| 13. Chromium | N | 10-10-10 | ppb | 100 | 100 | Discharge from steel and pulp mills; erosion of natural deposits |
| 16. Fluoride | N | .12 .12 .12 | ppm | 4 | 4 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| 18. Mercury (inorganic) | N | .50-.50-.50 | ppb | 2 | 2 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland |
| 19. Nitrate (as Nitrogen) | N | .187 .197 .425 | ppm | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| 21. Selenium | N | 5-5-5 | ppb | 50 | 50 | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines |
| 22. Thallium | N | 2-2-2 | ppb | 0.5 | 2 | Leaching from ore-processing sites; discharge from electronics, glass, and drug factories |

As you can see by the table, our system had no violations. We did however have one routine monthly sample come back positive for Total Coliform, but retake samples proved it to be a sampling error.  We’re proud that your drinking water meets or exceeds all Federal and State requirements. We have learned through our monitoring and testing that some constituents have been detected. The EPA has determined that your water IS SAFE at these levels.

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

MCL’s are set at very stringent levels. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Total Coliform: The Total Coliform Rule requires water systems to meet a strict limit for coliform bacteria. Coliform bacteria are usually harmless, but their presence in water can be an indication of disease-causing bacteria. When coliform bacteria are found, special follow-up tests are done to determine if harmful bacteria are present in the water supply. If this limit is exceeded, the water supplier must notify the public by newspaper, television or radio. To comply with the stricter regulation, we have increased the average amount of chlorine in the distribution system.

Nitrates: As a precaution we always notify physicians and health care providers in this area if there is ever a higher than normal level of nitrates in the water supply.

Lead:  Lead in drinking water is rarely the sole cause of lead poisoning, but it can add to a person's total lead exposure. All potential sources of lead in the household should be identified and removed, replaced or reduced.

We take great pride in the fact that we serve safe, clean drinking water.  We’re presently looking at a few more developments for the District this summer, which will of course bring on more responsibility and water usage.

Thank you for allowing us to continue providing your family with clean, quality water this year.   In order to maintain a safe and dependable water supply we currently attend as many classes and seminars as possible.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Please call our office if you have questions.

We at Avondale Irrigation District work around the clock to provide top quality water to every tap.   We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.